Annex 1 to inquiry no. 34/LIFE/PROZON of 13.06.2023r.

INQUIRY SHEET

| Name of Bidder Tax Identification Number |  |
| --- | --- |
| Address |  |
| Contact person (e-mail, GMS) |  |

Purchaser’s details:

PROZON FOUNDATION FOR CLIMATE PROTECTION

ul. Matuszewska 14, Bud. B9, 03-876 Warszawa

Tax Identification Number/NIP: 524 18 25 696

- By joining the procedure carried out in the mode of inquiry for the supply of 10 refrigerant recovery stations as a part of the project " The demonstrative installation for the separation of refrigerant waste mixtures” LIFE18 CCM/PL/001100 we submit following offer.

Item of inquiry – 10 refrigerant recovery stations

Offered guarantee period: Guarantee period: ………….. months.

Offered model: …………………………………………………………

Minimal required parameters: efficiency of steam recovery: up to 20kg/h classes of refrigerants: A1 + A2L compressor type: two-cylinder, oil-free, 0.37 kW Overload protection: 38.5 bar Weight: up to 12.5 kg guaranteed access to spare parts Additional requirements : - minimum warranty - the warranty period required is 12 months. - the price of the offer should include transport to the Ordering Party's headquarters; - the subject of the contract should be delivered within the time specified in the offer, but no later than 8 weeks from signing the contract.

Price criteria:

| Item of inquiry | Net price per piece | Total net price | Total gross price |
| --- | --- | --- | --- |
| 10 refrigerant recovery stations | …………………………………. | …………………………… | ………………………………… |

Time criteria:

Time limit for delivery: ………….. days from contract sign date.

Respect for the environment criteria:

YES / NO (mark according to Annex 2)

- We declare, that we are familiar with the 	contents of the inquiry and we do not raise objections and accept the conditions as written.

- We declare, that we are tied to the conditions of the offer we make in the period of time specified in the inquiry.

- We declare, that the price of our offer includes all costs of service with all foreseen conditions and circumstances of realization of the order.

- We declare, that we fulfill all the conditions of the participation in the procedure determined by Purchaser and as a confirmation of mentioned we submitted all required documents.

- We declare that the item of inquiry fulfill all the requirements specified by Purchaser.

- By joining the procedure no. 34/LIFE/PROZON, we declare that:

- I am authorized to perform a specific activity or activity, if the legal regulations impose an obligation to have them;

- I have the necessary knowledge and experience;

- I have the appropriate technical and personal potential capable of performing the subject of the contract;

- I am in an economic and financial situation ensuring the performance of the contract.

- We declare that we are not subject to exclusion from the procurement procedure.

........................................                                                                    …………..………………………….

(place and date)                                                                              signature of the person(s) authorized

to represent the Bidder